Goal: Re-create David Rach’s QC website for the UNC Core.

Example website: https://umgccfcss.github.io/InstrumentQC/

David’s instructions website top: https://davidrach.github.io/InstrumentQC_Install/

Things we will need:

- Daily QC files – consider using Windows Task scheduler (readme) to copy the QC files to a common location (J: or Z: drive folder(s)).

  - What files are being used and where are these?

For Cytek Instruments, data deriving from the DailyQC.csv files is processed and stored as the ArchivedData.csv. For data derived from processed before/after QC bead .fcs files, these are stored in the BeadData.csv. For the BD instruments, everything is currently derived from CST bead .fcs files, consequently stored in the HolisticData.csv file.

It is from these instrument specific archive .csv files that all the plots found in the individual instrument webpages get generated, so knowing the file.paths to these individual .csv files in important to have ready to swap in!

  - The What…

    - Attune1&2 (Performance Tracking results – XML = PT-YYYY-MM-DD…LaserDelay.xml & …Results.xml; FCS file = GetFinalStats_FlowRate###Iteration1.fcs)

    - Fortessa (CS&T Report

    - Aurora (DailyQCReport…csv, DailyQCDataSample…fcs; David also acquires 3000 events of QC beads pre- and post-DailyQC under Admin account)

    - ImageStream

    - Melody

    - AriaII

    - S6

  - The Where…

    - Attune1&2 (AB SW&DATA (D:)/Users/Public/Public Documents/Life Technologies/Attune NxT/Userdata/PerformanceTestResults)

    - Fortessa

    - Aurora (Daily QC -> C:/CytekbioExport/Setup/, .fcs -> C:/CytekbioExport/Setup/DailyQC)

    - ImageStream

    - Melody

    - AriaII

    - S6

- R-code for extracting information and building the website

- Git account for hosting the website

- Other Stuff?